## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Whitwell Court
Gilesgate
DH1 12A
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-11494
DATE OF REPORT: 02/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11494
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 7 Whitwell Court
Gilesgate
DH1 12A
Carried Out On | 02/10/2021
Survey Completed By | Samuel Coleman
SECTION 2: Introduction
Leak from newly installed boiler.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11494
SECTION 3: Report
no leak present during visit. Boiler run in max and allowed to cool off. 90 bend on condensate pipe very slightly damp to touch, condensate pipe pushed flush into grey condensate hose on bottom of boiler as was not all the way in, possibly came from there. Tray put under suspected 90 condensate bend, tenant will monitor over next few days for any build up in the tray / bowl.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11494
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11494
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11494
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11494
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11494
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes