## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
18 Rydal Avenue
South Moor
Stanley
DH9 7QW
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-11497
DATE OF REPORT: 03/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11497
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 18 Rydal Avenue
South Moor
Stanley
DH9 7QW
Carried Out On | 03/10/2021
Survey Completed By | Samuel Coleman
SECTION 2: Introduction
No heating or hot water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11497
SECTION 3: Report
Elderly lady, large bungalow, not turning thermostat high enough, room is not getting to temperature due to large rooms and high ceilings. Boiler working perfectly fine, radiators bled and red hot, hot water working also. Programmer set to constant and tenant advised to turn room stat slightly higher than normal to feel the room heating up. Tenant fully understands and is satisfied with the visit.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11497
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11497
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11497
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11497
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11497
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes