## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 Castle Dene
Lumley
County Durham
DH3 4HA
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-11502
DATE OF REPORT: 19/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11502
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 5 Castle Dene
Lumley
County Durham
DH3 4HA
Carried Out On | 19/10/2021
Survey Completed By | Paul McManus
SECTION 2: Introduction
expanssion vessel charged to 1bar. Slight leak on plastic section of main heat exchanger (top left vent point) - needs new O ring/replacement part. GC No. 47-393-48 Job REF 21-10437 (office use only)

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11502
SECTION 3: Report
Replaced top air vent on Combustion chamber slight leak. P.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11502
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11502
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11502
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11502
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11502
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes