## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
33 Burn Promenade
Burn Park Road
Houghton-Le-Spring
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 21-11509
DATE OF REPORT: 05/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11509
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | 33 Burn Promenade
Burn Park Road
Houghton-Le-Spring
Carried Out On | 05/10/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Dont know if this situation has been reported but several residents including myself have noticed when switching the flat heating the radiators are not hot, just warm

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11509
SECTION 3: Report
Attend site for poor heating temperature Had to balance heating system This system has no bms / no control of valves so the 3 port valves have to be balanced manual. I've left site with heating and hot water Offsite 1630 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11509
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11509
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11509
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11509
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11509
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes