## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1-14 Empire Court
The Esplande
Whitley Bay
NE26 2AL
CARRIED OUT ON BEHALF OF
Screen & Forster Services Design Consultancy Ltd.
REPORT NUMBER: 21-11516
DATE OF REPORT: 07/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11516
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Screen & Forster Services Design Consultancy Ltd.
Address | Coburg House
1 Coburg street
Gateshead
Tyne & Wear
NE8 1NS
Site Address | 1-14 Empire Court
The Esplande
Whitley Bay
NE26 2AL
Carried Out On | 05/10/2021, 07/10/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Flat 4 - Heating system losing pressure. Please investigate as there are no obvious faults. Reported by Michael Screen on 05.10.2021

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11516
SECTION 3: Report
Attend site 1200 for boiler loosing pressure and boiler on L2 fault Find dhw two port valve leaking when calling for heat so pressure is dropping new valve ordered. Boiler on L2 fault trace to ignition probe arcing as insulation is cracked wrap insulation tap around prone to stop the arching to allow heating to work Parts needed 1 no ideal ignition probe 1 no 22mm 2 port valve Offsite 1315 fow 07/10/21 Pick up parts from wholesalers and travel to site ,isolate and drain down to allow replacement of HW leaking 2 port valve , full and vent . Chand spark generator ignition probe on boiler. Switch heatingbon and find no air vent on the primary coil and system air locked try to clear but pump over heating. Pick new pump up and isolate and strip out pump replace with new , put pump into vent air mode and wait until pump clears its self of air recommission and test site now has heating and hot water Partx used 1 x ignition probe 1 x ignition transformer 1 x 22mm 2 port valve this was from van stock £ 95 1 x grundfos 15-60 heating pump

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11516
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11516
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11516
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11516
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11516
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes