## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
13 Southgate Court
Camsey Close
Newcastle upon Tyne
NE12 8UW
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-11543
DATE OF REPORT: 13/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11543
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | 13 Southgate Court
Camsey Close
Newcastle upon Tyne
NE12 8UW
Carried Out On | 06/10/2021, 11/10/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Repair leak to water meter in hallway cupboard

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11543
SECTION 3: Report
A jet 3/4 cold water meter is required Attend site for water pouring in cupboard from water meter had to isolate and drain down dcw and take water meter out and pipe out using 22mm copper pipe. Re fill and vent Parts used 2 x 22mm pressfit slip sockets 1 x 22mm copper pipe

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11543
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11543
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11543
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11543
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11543
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes