## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 Clifton Walk Bungalows
Beaumont Drive
Whitley Bay
NE25 9ZE
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-11545
DATE OF REPORT: 22/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11545
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | 1 Clifton Walk Bungalows
Beaumont Drive
Whitley Bay
NE25 9ZE
Carried Out On | 29/09/2021, 19/10/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
Underfloor heating is not working correctly. This has been looked at in the past but no better. Another tenant said his heating or water supply to the underfloor heating was regulated and was turned up, he now feels the benefit. Please contact Jodie for access - 0191 659 9345

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11545
SECTION 3: Report
Drained down UFH manifold replaced flow limiters and cartridges then tested. Found the actuators were incorrectly fitted to the corresponding heating loops so had to identify the correct actuators to loops. All tested good

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11545
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11545
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11545
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11545
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11545
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes