## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
37 Percy Lodge
St Johns Terrace
Percy Main
NE29 6JT
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-11546
DATE OF REPORT: 13/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11546
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | 37 Percy Lodge
St Johns Terrace
Percy Main
NE29 6JT
Carried Out On | 07/10/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Partial loss of heating in the property. Radiators only heating at the bottom.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11546
SECTION 3: Report
Attend site for rads not heating up properly This is 27 not 37 I knocked on 37 and he had no issues then rang the number provided and found it to be no 27. One inside the flat carry out tests find 2 port valve sticking in the closed position free off and lubricated test all ok radiators now heating up , noticevthat they are piped up high level flow low level return this stops the bottom of the radiators getting as hot as thy could Offsite 1615 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11546
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11546
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11546
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11546
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11546
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes