## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
43 Windsor Grange
Windsor Drive
Wallsend
NE28 0NP
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-11548
DATE OF REPORT: 13/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11548
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | 43 Windsor Grange
Windsor Drive
Wallsend
NE28 0NP
Carried Out On | 07/10/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No hot water for the block - communal system

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11548
SECTION 3: Report
Attend site for no hot water Gain access to plant room find no 1 dhw boiler on and water up to 61° but no 2 dhw locked out , this is chilling the water , carry out tests find ignition probe electrodes touching , re- gap and reassemble and test all ok wait until water from the laundry is 59° at the tap. All ok now offsite - complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11548
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11548
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11548
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11548
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11548
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes