## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
8 Castle Road
Prudhoe
Northumberland
NE42 6ND
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-11551
DATE OF REPORT: 07/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11551
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 8 Castle Road
Prudhoe
Northumberland
NE42 6ND
Carried Out On | 07/10/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
As agreed with Nathan Lowes to attend tomorrow morning (7/10 AM) and find/repair gas leak under bedroom flooring. NGN have attended and capped gas off

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11551
SECTION 3: Report
Found source of gas leak which was caused by a Leaky Condensate pipe causing corrosion to the gas pipe underneath it. Passed information to office and had an engineer carry out repair.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11551
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11551
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11551
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11551
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11551
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes