## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Block 1-16 Trinity Court
Roman Way
Corbridge
NE45 5JN
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-11557
DATE OF REPORT: 14/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11557
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Block 1-16 Trinity Court
Roman Way
Corbridge
NE45 5JN
Carried Out On | 07/10/2021, 11/10/2021, 14/10/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
Scheme Coordinator has called to report both communal boilers are down no heating or hot water in the building

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11557
SECTION 3: Report
VT circuit wasn’t when arrived. Noticed 3 port was in closed position and making a clunking noise. Checked for voltage and had correct amount there but valve not opening so disconnected electrics and put valve in to manual position new actuator required Collected new replacement Siemens sdk62 actuator and fitted all tested fine and left operating

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11557
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11557
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11557
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11557
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11557
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes