## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Burn Promenade
Burn Park Road
Houghton-Le-Spring
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 21-11583
DATE OF REPORT: 18/08/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11583
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Burn Promenade
Burn Park Road
Houghton-Le-Spring
Carried Out On | 28/04/2022, 01/07/2022, 18/08/2022
Survey Completed By | Rob Porritt, Graham Parker
SECTION 2: Introduction
Warning notice issued at annual service for the gas solonoid as it is locked in open position and disconnected. Appliance left on but replacement part needed. Also noted on the servicing certificate that the rubber flue seals are leaking

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11583
SECTION 3: Report
Carried out survey for gas pipe replacement Assisted with pipework and solinoid installation

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11583
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11583
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11583
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11583
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11583
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes