## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Communal Area
Castle Court
Annfield Plain
DH9 7SA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-11613
DATE OF REPORT: 12/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11613
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Communal Area
Castle Court
Annfield Plain
DH9 7SA
Carried Out On | 11/10/2021 12/10/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No radiators working in communal areas

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11613
SECTION 3: Report
Attend site 0700 for no heating Find boiler no1 locked outvon E-112 fault and boiler no2 not calling for heat Check thermistors on boiler one find all within range so reset boiler all ok No 2 boiler had to trace wiring and find a badly corroded spade connector to the relay which wasn't sending voltage to the control box, remake this and test boiler now firing. Both boilers working and wait until all up to temp Offsite 0845 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11613
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11613
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11613
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11613
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11613
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes