## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
8 Joseph Hopper Terrace
West Conforth
Ferryhill
DL17 9HX
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-11635
DATE OF REPORT: 21/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11635
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 8 Joseph Hopper Terrace
West Conforth
Ferryhill
DL17 9HX
Carried Out On | 21/10/2021
Survey Completed By | Samuel Coleman
SECTION 2: Introduction
New condensate trap required for prmax heat 15/2.GC. 41.605.52

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11635
SECTION 3: Report
Condensate trap replaced. Boiler checked and working on heating and hot water before departure. LDF used on gas pipe to fan connection when burners running. Tightness test also carried out and satisfactory.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11635
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11635
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11635
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11635
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11635
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes