## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
65 Conyers Road
South Pelaw
Chester le Street
DH2 2HE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-11637
DATE OF REPORT: 12/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11637
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 65 Conyers Road
South Pelaw
Chester le Street
DH2 2HE
Carried Out On | 12/10/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Please assess for small radiator to downstairs wc

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11637
SECTION 3: Report
Required BTU for the room where the radiator is required would be 770BTU. Which means a single panel rad size H-450 x W-400 would be adequate to heat the room. (Wolseley part no 268214) . Nearest CH feed available is in bathroom which is room above the toilet where rad is required. Would require lifting lino in bathroom then floor under lino. Pinching a feed, dropping below ceiling level and then taking to where rad would be put on the wall in toilet. (Approx 8m of 10mm pipe would be adequate for both the flow and return to rad.) This would require boxing in like all the other rads downstairs as they are all on droppers. Another option would be to pinch feed from droppers feeding the hallway radiator and run full length of hallway to the toilet. (Approx 14m of 10mm pipe would be adequate for both the flow and return to rad. Would need x2 10mm Ts, x6 10mm elbows, 1 set of 10mm trv and lockshield.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11637
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11637
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11637
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11637
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11637
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes