## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 - 16 Trinity Court
Roman Way
corbridge
NE45 5JN
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-11663
DATE OF REPORT: 05/11/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11663
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1 - 16 Trinity Court
Roman Way
corbridge
NE45 5JN
Carried Out On | 12/10/2021, 05/11/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Yasemin scheme officer reported that underfloor heating in Flat 2 is too hot and she cannot stand on it to use the bathroom.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11663
SECTION 3: Report
Found pin was jammed in the 2 port zone valve so freed up and checked movement with the actuator attached and seemed ok. Heating Flow into property was isolated so unisolated. Siemens timer Actuator and timer panel broken need replacing. Temporarily used cable tie to keep pin pushed in on body so heating can flow through. Giacamini Actuator head required for bathroom u/f heating circuit as not working. Tenant unable to turn off heating in bathroom currently but she says she always has it on. Sent pictures to admin email as not letting me attach them.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11663
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11663
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11663
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11663
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11663
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes