## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Consett AFC
Belle Vue Stadium
Consett
CARRIED OUT ON BEHALF OF
Consett AFC
REPORT NUMBER: 21-11670
DATE OF REPORT: 13/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11670
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Consett AFC
Address | Belle Vue Stadium
Delves Lane
Consett
DH8 7BF
Site Address | Consett AFC
Belle Vue Stadium
Consett
Carried Out On | 13/10/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Check on heating system issues

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11670
SECTION 3: Report
Attend site 0800 for no heating Find boiler has a leak from a union and pressurisation unit has locked out on flood alarm. Isolate and drain down and strip out 2" union clean up with emery paper and re assembled and repaste all surfaces, fill and vent test all ok. Re set pressurisation unit and change anti flood settings all ok heating now working. Offsite 1100 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11670
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11670
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11670
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11670
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11670
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes