## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
29 Stanley Court
Stanley
Co Duham
DH9 6HD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-11673
DATE OF REPORT: 14/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11673
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 29 Stanley Court
Stanley
Co Duham
DH9 6HD
Carried Out On | 13/10/2021, 14/10/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Lynda reports that both the living room and bathroom radiators are not working correctly as they arent heating up.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11673
SECTION 3: Report
Attend site 0800 for radiators not heating up Gain access to flat find radiators luke warm trace pipework to see if the flat has a 2 port valve but pipework comes up in the bedroom cuboard and runs around the flat bedroom in to living room and then kitchen and disappears behind kitchen cuboards. The heating is a one pipe system, it looks like it goesinto the flat next door(30) and they arnt in for me to check so I think it's a flow issue and needs further investigation a joiner is needed to take kitchen cuboards out so pipework wan be full traced. Tennant still only has lukewarm heating Offsite 1000 fow

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11673
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11673
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11673
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11673
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11673
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes