## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Flat 3
114 St Georges Terrace
Jesmond
NE2 2DP
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-11689
DATE OF REPORT: 15/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11689
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Flat 3
114 St Georges Terrace
Jesmond
NE2 2DP
Carried Out On | 15/10/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
No Hot Water - Replace Water Tank - Property is on the second floor. 3 bedroom, 1 bathroom, 1 kitchen sink. Flue to be made good - Current water tank is Main Medway Super. Customer is self employeed please call to make an appointment

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11689
SECTION 3: Report
6 outlets in property Boiler is an instantaneous water heater, on wall in kitchen. Gas supply is visible in 22mm 2nd floor flat. Tenant has no hot water so job is pressing.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11689
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11689
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11689
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11689
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11689
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes