## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Burn Promenade
Burn Park Road
Houghton-Le-Spring
DH4 5EJ
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 21-11711
DATE OF REPORT: 14/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11711
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Burn Promenade
Burn Park Road
Houghton-Le-Spring
DH4 5EJ
Carried Out On | 14/10/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Reported by Jackie Whalen-Wright. Hot water is too hot again. Access trade 1980 Warden on site Mon-Thurs. Please arrange ASAP vulnerable residents

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11711
SECTION 3: Report
Attend site for hot water temp to hot. Gain access to plantroom alter horn mixing valve off calorfier's temp leaving plant room is 58° for legionella. I strongly advise all tmvs onsite to be serviced (I think all bathrooms have tmvs on the baths). Offsite 1715 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11711
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11711
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11711
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11711
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11711
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes