## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
14 Kennedy Green
Beadnell
Chathill
NE67 5DD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-11712
DATE OF REPORT: 15/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11712
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 14 Kennedy Green
Beadnell
Chathill
NE67 5DD
Carried Out On | 15/10/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
System needs drained - air in the system - tenant has no heating or hot water as per Ken White

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11712
SECTION 3: Report
System was in a full code l9 on arrival. Spoke to mitsubishi technical who took me through restart procedure for system. Once restarted it brought up another fault p1. This was due to an issue with the thermistors on the system. They were situated on the wrong pipes and also needed adjusting on the control panel. Once I had done this the system started working and sending heat towards the tank.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11712
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11712
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11712
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11712
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11712
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes