## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Communal Area
1 - 38 Moordale court
Fabian Road
TS6 9RH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-11745
DATE OF REPORT: 18/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11745
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Communal Area
1 - 38 Moordale court
Fabian Road
TS6 9RH
Carried Out On | 18/10/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
Radiator outside F34 in communal hall thermostat does not work. Please can this be replaced so that radiator temperature can be adjusted.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11745
SECTION 3: Report
Fitted new thermostatic radiator valve to radiator as faulty. Used from van stock 15mm

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11745
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11745
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11745
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11745
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11745
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes