## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 - 16 Trinity Court
Roman Way
corbridge
NE45 5JN
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-11746
DATE OF REPORT: 15/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11746
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1 - 16 Trinity Court
Roman Way
corbridge
NE45 5JN
Carried Out On | 15/10/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
No heating/Primary pump error on boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11746
SECTION 3: Report
Spoke with Yasmine the scheme’s manager to find out the issues. And found that the problem was down to the solar system and buffer tank was reading zero on the gauges and there was a faulty temperature gauge on the primary circuit which she was readin. Checked with the tenant on the furthest part of the circuit to check was heating. She was happy and the temperature on the flow pipe work to the UFH and was registering at 47.8 and rising and return was 44 degrees

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11746
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11746
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11746
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11746
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11746
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes