## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
29 Windsor Grange
Howdon
Newcastle upon Tyne
NE28 0NP
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-11747
DATE OF REPORT: 18/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11747
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | 29 Windsor Grange
Howdon
Newcastle upon Tyne
NE28 0NP
Carried Out On | 15/10/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Resident has leaking manifold on her underfloor heating. Please treat as urgent.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11747
SECTION 3: Report
Attend site 1030 for under floor heating leaking Isolated and drained down heating , strip out 5 x giacomini under floor heating cartridges change for new check for leaks Check all completed all ok Parts used 5 no giacomini cartridges van stock Off site 1215 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11747
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11747
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11747
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11747
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11747
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes