## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
34 The Elms
Chester-le-street
DH2 3EJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-11765
DATE OF REPORT: 21/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11765
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 34 The Elms
Chester-le-street
DH2 3EJ
Carried Out On | 16/10/2021, 21/10/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11765
SECTION 3: Report
Quick blow fuse blown in manifold wiring centre. Follow on works required to replace fuse. Manifold thermostat head removed so tenant has heating. Email sent to admin with system details. PR Attend site Find 5mamp fast blow fuse blown replace and carry our a test on all components individually and find all ok . Heating all ok and working when leaving 1630 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11765
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11765
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11765
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11765
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11765
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes