## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Buddle House
Buddle Road
Newcastle Upon Tyne
NE4 8AW
CARRIED OUT ON BEHALF OF
John Buddle Work Village
REPORT NUMBER: 21-11770
DATE OF REPORT: 18/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11770
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | John Buddle Work Village
Address | Buddle Road
Newcastle Upon Tyne
NE4 8AW
Site Address | Buddle House
Buddle Road
Newcastle Upon Tyne
NE4 8AW
Carried Out On | 18/10/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
AGSC

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11770
SECTION 3: Report
Attend to carry out a ppm visit 1 x Remeha Quinta 65 boiler stripped and serviced new ignition probes fitted 1 x grundfos ups 50-180 twin set all no issues 1 x calorfier checked all ok no issues 1 x 40 ltr expansion vessel isolated drained and pressure set at 1.5 bar 1 x 24 ltr dhw expansion vessel isolated drained and pressure set 3.5bar 1 x grundfos ups 15-50 n dhw pump checked no issues 1 x Remeha mini pressurisation unit isolated by others not working All pipework in good condition Parts fitted 1 x Remeha Quinta ignition probe Parts needed 1 x 1" 3 bar pressure relief valve passing new needed 1 x pressurisation unit midi

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11770
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11770
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11770
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11770
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11770
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes