## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
OTO Lift Manufacturing
Unit 41a
Consett Business Park
DH8 6TW
CARRIED OUT ON BEHALF OF
OTO Lift Manufacturing Ltd
REPORT NUMBER: 21-11789
DATE OF REPORT: 19/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11789
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | OTO Lift Manufacturing Ltd
Address | Unit 41a Consett Industrial Estate
Consett
Co Durham
DH8 6TW
Site Address | OTO Lift Manufacturing
Unit 41a
Consett Business Park
DH8 6TW
Carried Out On | 19/10/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No hot water in building. Please ask for Martin on arrival

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11789
SECTION 3: Report
Attend site 1400 for no hot water Find a santon water heater with no power supply, test find a loose connection on the fuse spur re make and testvallmok wait for water to get up to temperature all ok Offsite 1530 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11789
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11789
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11789
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11789
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11789
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes