## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Communal Area
Castle Court
Flats 1-41
DH9 7SA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-11799
DATE OF REPORT: 21/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11799
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Communal Area
Castle Court
Flats 1-41
DH9 7SA
Carried Out On | 21/10/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
heating in communal arear not turning off

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11799
SECTION 3: Report
Attend site for heating not turning off This sitechas had the bms system linked out and every thing is set to run off the boiler stats it's running at 60° temp at the minute and each radiator has a trv so they can be turned off individually. There is a room stst and this isnt connected to any thing in the panel (as the bms has been decommissioned due to the boiler room flooding at an earlier date. I advise the bms be reinstated and then they will have control over the heating Offsite 1745 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11799
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11799
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11799
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11799
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11799
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes