## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
9 Minsterley
Great Lumley
Chester Le Street
DH4 4NH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-11813
DATE OF REPORT: 12/01/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11813
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 9 Minsterley
Great Lumley
Chester Le Street
DH4 4NH
Carried Out On | 12/01/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Water not very hot / issue with flue

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11813
SECTION 3: Report
Water not getting very hot out of taps. Being caused by water being trapped in flue as it had 2 90degree elbows but flue is not back falling causing water to be trapped. 2 new elbows and extensions required. Tenants available everyday as she works from home.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11813
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11813
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11813
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11813
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11813
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes