## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1-14 Empire Court
The Esplande
Whitley Bay
NE26 2AL
CARRIED OUT ON BEHALF OF
Screen & Forster Services Design Consultancy Ltd.
REPORT NUMBER: 21-11818
DATE OF REPORT: 29/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11818
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Screen & Forster Services Design Consultancy Ltd.
Address | Coburg House
1 Coburg street
Gateshead
Tyne & Wear
NE8 1NS
Site Address | 1-14 Empire Court
The Esplande
Whitley Bay
NE26 2AL
Carried Out On | 21/10/2021, 29/10/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Flat 4 - Heating system losing pressure again

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11818
SECTION 3: Report
On site to investigate pressure loss. Traced back to leaking through Condensate due to split heat exchanger. Rang ideal and booked in warranty call.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11818
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11818
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11818
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11818
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11818
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes