## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Harvey Court
Consett
County Durham
DH8 6DF
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-11839
DATE OF REPORT: 25/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11839
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 7 Harvey Court
Consett
County Durham
DH8 6DF
Carried Out On | 22/10/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Leaking Radiator and issue with heating system

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11839
SECTION 3: Report
When attending site found carpet in back bedroom to be wet but no sing or leaking. Took pipe boxing off to inspect pipework but all seemed to be good. Took a small bit of plaster board off from the corner of the wall and found there to be a large amount of water sat behind the wall. Went into the bathroom to remove the boxing and found there to be a square foot hole filled with water, after getting all of the water out of the hole I found the leak was coming from the overflow pipe which had not been connected properly. This was being caused by the fill in the toilet being faulty. I purchased a new fill for the toilet from consett Wolsley, removed the old one and replaced with the new. Also I repaired the issue with the overflow pipe. Joiner to go back and make good boxing work.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11839
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11839
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11839
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11839
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11839
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes