## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1-31 Carville Grange
Carville Road
Wallsend
NE28 6DX
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-11862
DATE OF REPORT: 02/11/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11862
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Unit 1 Hunslet Trading Estate
Servern Way
Hunslet
Leeds
LS10 1BL
Site Address | 1-31 Carville Grange
Carville Road
Wallsend
NE28 6DX
Carried Out On | 23/10/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
Leaking radiator in ground floor outside flat 1

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11862
SECTION 3: Report
Radiator pipe had been knocked and required remaking

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11862
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11862
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11862
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11862
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11862
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes