## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Buddle House
Newcastle upon Tyne
CARRIED OUT ON BEHALF OF
John Buddle Work Village
REPORT NUMBER: 21-11871
DATE OF REPORT: 25/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11871
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | John Buddle Work Village
Address | Buddle Road
Newcastle Upon Tyne
NE4 8AW
Site Address | Buddle House
Newcastle upon Tyne
Carried Out On | 25/10/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
No heating in office within Buddle House

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11871
SECTION 3: Report
Low pressure causing heating to cut off. When repressurised heating started to circulate. Repressurisation unit is faulty sent details of unit to admin to order. A handful of trv valve pins were stuck in place so freed up and tested.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11871
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11871
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11871
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11871
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11871
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes