## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
The Botanist
Unit 13/14 Newcastle Upon Tyne
Tyne & Wear
NE1 7AL
CARRIED OUT ON BEHALF OF
Genus Facilities Management Limited
REPORT NUMBER: 21-11897
DATE OF REPORT: 25/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11897
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Genus Facilities Management Limited
Address | 25 Redacre Close
Dutton
Warrington
WA4 4JU
Site Address | The Botanist
Unit 13/14 Newcastle Upon Tyne
Tyne & Wear
NE1 7AL
Carried Out On | 22/10/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
Gas issue near a 6 burner oven in the kitchen

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11897
SECTION 3: Report
On arrival was directed to the issue they were having. Found there was a large gas leak. Reason for this would be when they are carrying out a clean or deep clean they pull out the appliances by disconnecting the restraining cables and when it is pulled to far it snags on the catering flex which ends up distorting the pipe and fittings. I checked the next appliance connector and it was the same there too. I carried out a temporary repair by recrimmping the fittings which had become distorted and getting the pipe in level as much as possible. When I completed the repair the best I could I made sure there was no escape of gas but most certainly needs replacing

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11897
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11897
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11897
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11897
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11897
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes