## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
The Botanist
Unit 13/14 Newcastle Upon Tyne
Tyne & Wear
NE1 7AL
CARRIED OUT ON BEHALF OF
Genus Facilities Management Limited
REPORT NUMBER: 21-11950
DATE OF REPORT: 04/11/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11950
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Genus Facilities Management Limited
Address | 25 Redacre Close
Dutton
Warrington
WA4 4JU
Site Address | The Botanist
Unit 13/14 Newcastle Upon Tyne
Tyne & Wear
NE1 7AL
Carried Out On | 27/10/2021, 01/11/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
FOW from 21-11897 Gas issue near a 6 burner oven in the kitchen

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11950
SECTION 3: Report
Left 05:30 Arrived 06:15 Finished 10:15 Drop off hire 10:15 till 10:50 Carried out replacement of section of 67mm gas train feeding 2 catering appliances that had been temporarily repaired

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11950
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11950
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11950
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11950
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11950
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes