## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Smulders Hadrian Yard
Hadrian Way
Newcastle Upon Tyne
NE28 6HL
CARRIED OUT ON BEHALF OF
Smulders Hadrians Yard
REPORT NUMBER: 21-11953
DATE OF REPORT: 27/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11953
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Smulders Hadrians Yard
Address | Hadrians Way
Newcastle Upon Tyne
NE28 6HL
Site Address | Smulders Hadrian Yard
Hadrian Way
Newcastle Upon Tyne
NE28 6HL
Carried Out On | 03/02/2020
Survey Completed By | David Hunter
SECTION 2: Introduction
Engineer called out to a problem with the boiler in the main office. Investigation revealed a faulty pump. Pump replaced

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11953
SECTION 3: Report
Engineer called out to a problem with the boiler in the main office. Investigation revealed a faulty pump. Pump sourced & replaced same day.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11953
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11953
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11953
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11953
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11953
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes