## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Carisbrooke Court
Chester Terrace
Sunderland
SR1 3SN
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 21-11985
DATE OF REPORT: 10/01/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11985
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Carisbrooke Court
Chester Terrace
Sunderland
SR1 3SN
Carried Out On | 29/10/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
Job Order - Plumber - please can you attend ASAP to water isolation vale in boiler house - it is seized on and the water can't be shut off - please get access from Wellbeing Officer - this is urgent as if a leak happens it will flood the communal areas of this Independent Living Scheme - Jackie Hurst works on site on a Thursday and Friday ---- 07515294606 - Jackie Hurst

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11985
SECTION 3: Report
29/10/21 14:00 arrival On arrival manager new there was an issue by been informed by email but was unsure of exactly which one so checked all valves and found were ok but the cold water main inlet pipe had 5 DN 65 PN16 wheel head valves on it. 2 to isolate water meter which where working but could do with an overhaul ie repacking and greasing the main isolation valve works but could do with an overhaul. The 2 top valves are incorporated in to a meter bypass one is seized shut and the other is seized open. If these are wanting to be replaced materials required would 1x67mm pn16 stub flange 1xDN65 gasket 1x67mm slip connector 1x67mm lever isolation valve 3mx67mm copper pipe

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11985
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11985
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11985
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11985
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11985
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes