## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Ferndene
Thread Gardens
Wallsend
NE28 7HT
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-12029
DATE OF REPORT: 02/11/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-12029
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Ferndene
Thread Gardens
Wallsend
NE28 7HT
Carried Out On | 31/10/2021
Survey Completed By | Gary Ward
SECTION 2: Introduction
Communal No Heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-12029
SECTION 3: Report
No heating to most of building, with advice from DH I took zone 1 pump from auto to on as in attached pictures

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-12029
SECTION 4: Photos
Room / Area
Plant room
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12029
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12029
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12029
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12029
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes