## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
9 Minsterley
Great Lumley
Chester-le-Street
DH3 4NH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-12035
DATE OF REPORT: 02/11/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-12035
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 9 Minsterley
Great Lumley
Chester-le-Street
DH3 4NH
Carried Out On | 01/11/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Investigate poor hot water from recently installed boiler.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-12035
SECTION 3: Report
On arrival to property tenant mentioned that the hot water was only like warm. When tested this is the case. The main heat exchanger is also making a gurgling noise on both heating and hot water. I disconnected the condensate hose from heat ex, no water came out and trap was clearing as it should. I ran the purge function on the boiler but did not remedy the gurgling noise. I spoke to baxi technical about both issues and they asked about the temperature on front of boiler when hot water was running. It was only reaching 49-50 degrees even though the thermostat was turned up full on the front of the boiler. Potential issue with the hot water sensor. Rang baxi for a warranty call on the boiler as the install is as it should be.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-12035
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12035
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12035
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12035
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12035
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes