## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Spring View
Bristol Drive
NE28 9TH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-12066
DATE OF REPORT: 24/11/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-12066
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Spring View
Bristol Drive
NE28 9TH
Carried Out On | 02/11/2021, 03/11/2021, , 23/11/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
Lack of heating in several appartments and SHO office

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-12066
SECTION 3: Report
E133 fault on boiler 2 and 3 on arrival. Reset both boilers and both fired. Boiler 3 dropped back into fault once whilst I was on site but I could feel heat being pushed out from all boilers as I left site. Traced fault to the gas valve so have sourced part and ordered merchant will contact me when available Replaced faulty gas valve with new replacement and then recommissioned the high and low gas setting to 9% co2

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-12066
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12066
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12066
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12066
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12066
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes