## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
34 The Elms
Chester le Street
County Durham
DH2 3EJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-12073
DATE OF REPORT: 15/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-12073
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 34 The Elms
Chester le Street
County Durham
DH2 3EJ
Carried Out On | 03/11/2021,, 24/11/2021, 07/12/2021, 14/12/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Water runs hot then cold has had prev issues with this ---- Cust tel - 01913883944 ---- No covid issues

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-12073
SECTION 3: Report
Found the thermostatic hot water valve leaking badly. Removed the head of this so it didn’t put pressure spindle and stop the water leaking. Explained to tenant that best temperature I could get at the tap was 40 degrees and she said was ok. This is while we wait for the new part. Changed x5 washers on hiu, needs thermostatic hot water valve replacing. Replaced thermostatic hot water valve. Replaced blending valve set up as non return valve was passing. Rewashered unit. KH 14/12/2021

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-12073
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12073
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12073
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12073
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12073
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes