## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Victoria Court
Block 1 - 34
Front Street
NE30 4QR
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-12149
DATE OF REPORT: 08/11/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-12149
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Victoria Court
Block 1 - 34
Front Street
NE30 4QR
Carried Out On | 05/11/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Noise coming from plant room, pressure down on 3 dials and F1 fail on one system. Heating going down throughout site

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-12149
SECTION 3: Report
pressurisation unit was making a noise due to being in fault when i arrived on site. Reset and fault was cleared. Unit was showing 1.2 bar of pressure, topped up to 1.5. Boilers were all running when i arrived on site.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-12149
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12149
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12149
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12149
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12149
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes