## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
23 Windermere Road
Hartlepool
County Durham
TS25 1QT
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-12150
DATE OF REPORT: 05/11/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-12150
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 23 Windermere Road
Hartlepool
County Durham
TS25 1QT
Carried Out On | 05/11/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
Gas repipe from meter to boiler and cooker as per Andy Sutherland

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-12150
SECTION 3: Report
Materials required 3m x 22mm pipe 3m x 15mm pipe 1 x 22x15 reducer 1 x 22mm equal tee 1 x 22mm meter union 1 x 15mm backplate elbow 1 x bayonet elbow 15mm clips 22mm clips Some 28mm pipe for sleeving 1 unit requires taking out and the back of the unit requires cutting out under the boiler to gain access 1 days labour

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-12150
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12150
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12150
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12150
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12150
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes