## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
15 Kelly Close
Blackhill
Consett
DH8 8TY
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-12156
DATE OF REPORT: 06/11/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-12156
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 15 Kelly Close
Blackhill
Consett
DH8 8TY
Carried Out On | 06/11/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Domestic Gas Boiler Service CO Alarm Service Magnaclean Service Smoke Alarm (battery) service Service Interal Timer

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-12156
SECTION 3: Report
Boiler showing high readings and unable to adjust. Low working pressure at boiler. Potentially new gas valve required. Diverted stuck in heating mode so not hot water. No actuator not moving. New gas valve, diverted and actuator required.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-12156
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12156
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12156
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12156
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12156
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes