## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
flat 23 Diamond House
61 High Street East
Wallsend
NE28 7SJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-12195
DATE OF REPORT: 01/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-12195
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | flat 23 Diamond House
61 High Street East
Wallsend
NE28 7SJ
Carried Out On | 10/11/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
Attend site to determine whether the ventilation system requires servicing. (Email sent to GP on 08.11.2021)

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-12195
SECTION 3: Report
New filters required. Stripped down unit checked the recouperator and fans all good. Ducts looked clean. Tenant doesn’t use it much I was informed. When I switched the unit on had fault lights on and air pressure faults showing. Reset the trickle and fan speeds up correctly and faults disappeared

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-12195
SECTION 4: Photos
Room / Area
Cupboard
Description
Control Panel, no faults present
Notes
Room / Area
Cupboard
Description
Make and Model Note - MRXBOX95
Notes
Room / Area
Cupboard
Description
Inner fan cleaned, all ok
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12195
SECTION 4: Photos
Room / Area
Cupbaord
Description
Ducting Clear
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12195
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12195
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12195
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes