## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Preston Court
Roseberry Avenue
North Shields
NE29 9PG
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-12251
DATE OF REPORT: 16/11/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-12251
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Preston Court
Roseberry Avenue
North Shields
NE29 9PG
Carried Out On | 10/11/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
Heating not working in main communal lounge

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-12251
SECTION 3: Report
The heating in the lounge is fed by air con. Unit was blowing cold air in to the room. So cleaned filters then checked with temperature coming from unit. And the room temperature. I set to 25 degrees in the auto position and found when the temperature in the room exceeded the set temperature it would bring down the temperature to the setting then when the temperature went below the set temperature it blew out warm air to the set temperature

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-12251
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12251
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12251
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12251
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12251
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes