## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
12 The Elms
Chester le Street
County Durham
DH2 3DQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-12263
DATE OF REPORT: 16/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-12263
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 12 The Elms
Chester le Street
County Durham
DH2 3DQ
Carried Out On | 26/10/2021, 16/12/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Repairs following HIU Clean

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-12263
SECTION 3: Report
Tenant heading out the door on arrival Changed x4 washers on hiu, tested all outlets and all getting up to temperature.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-12263
SECTION 4: Photos
Room / Area
Bathroom
Description
Notes
Basin tap 39.7c
Room / Area
Bathroom
Description
Notes
Shower temp 48.5c
Room / Area
Kitchen
Description
Notes
Kitchen tap 47.8c
ZENITH MECHANICAL SERVICES
Report Number | 21-12263
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12263
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12263
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12263
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes