## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
10 The Elms
Chester le Street
County Durham
DH2 3DQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-12265
DATE OF REPORT: 16/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-12265
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 10 The Elms
Chester le Street
County Durham
DH2 3DQ
Carried Out On | 26/10/2021, 07/12/2021, , 16/12/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Repairs following HIU Clean

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-12265
SECTION 3: Report
Changed the required washers on the HIU unit x6 used. Tried to resolve issue with inadequate hot water at shower. Issue wasn't solved, Tried swapping shower out for new shower again didn't solve issue. Looking into more potential reasons why hot water is poor at shower but Tenant had to go out so couldn't test anymore. Strangled down incoming water to property and tested water at shower. Temperatures were recorded and added to job. Water pressure at shower is to much so not getting full potential of heat. If Tenant doesn't turn the shower onto full pressure the temperature is higher. KH 16/12/2021

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-12265
SECTION 4: Photos
Room / Area
Bathroom
Description
Notes
Shower temp 42.4°c
Room / Area
Bathroom
Description
Notes
Basin tap 47.4°c
Room / Area
Kitchen
Description
Notes
Kitchen tap 53.8°c
ZENITH MECHANICAL SERVICES
Report Number | 21-12265
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12265
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12265
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12265
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes