## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Stewart Court,
Chopgate
Middlesbrough
TS9 7JZ
CARRIED OUT ON BEHALF OF
HG Morgan Sindall
REPORT NUMBER: 21-12356
DATE OF REPORT: 24/11/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-12356
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | HG Morgan Sindall
Address | Sheffield South
Yorkshire
S9 2UB
Site Address | 7 Stewart Court,
Chopgate
Middlesbrough
TS9 7JZ
Carried Out On | 12/11/2021, 24/11/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Boiler faulty again

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-12356
SECTION 3: Report
Changed pcb, started to get heat through the radiators but 2 port for hot water was not working so was unable to send heat towards tank. The outdoor mistubishi unit was was showing a 08 then a 00 on the lcd display. The fan was also not spinning on unit. Will speak to technical for help as no signal to ring on site.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-12356
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12356
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12356
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12356
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12356
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes