## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
28 Dene Court
Hamsterley Coillery
Newcastle Upon Tyne
NE17 7SF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-12430
DATE OF REPORT: 10/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-12430
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 28 Dene Court
Hamsterley Coillery
Newcastle Upon Tyne
NE17 7SF
Carried Out On | 10/12/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Survey

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-12430
SECTION 3: Report
Boiler in currently is valiant eco tec pro 28 Filleted required magna clean pro 2 Water filter required Vertical flue 1 extension Gas meter external Gas visible in 22mm No condensate pump required Update of controls required 2 bedrooms 1 bathroom.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-12430
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12430
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12430
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12430
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12430
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes